## Slide 3: About ISO 13485
What is ISO 13485?
  ISO — International Organization of Standards
  Medical devices — Quality management systems — Requirements for regulatory purposes
  Analogous to ISO 9001 – general standard for quality management systems
  Provides framework for establishing a quality management system for medical device manufacture
  Standard applies to any organization involved in the following for medical devices:
    Design and development
    Production
    Storage and distribution
    Installation and service

## Slide 4: ISO 13485 vs. 9001
What are the differences between 13485 and 9001
Both are Quality System Management standards
9001 is…
  More generic
  Allows more flexibility
  Can be applied to any organization
13485 is…
  Specific to medical device
  Puts patient/consumer safety at the center of the standard
  Requires increased documentation
  Requires greater traceability in production
VS.

## Slide 5: Criticality of Translation
Why is translation so important for medical devices?
  PATIENT SAFETY!!!
    High-quality instructions, safety guidelines, settings, dosages, exposure, etc.
    Liability for the manufacturer
  How does translation impact patient/consumer safety?
  Incomplete translation
  Inaccurate translation
    Wrong terminology
    Factual imprecision
  Ambiguous or misleading
    Inconsistent terminology
  Anything that leads to improper or inconsistent use of a medical device that results in hard to the patient/consumer
Notes: Traceability and change management – segment level
Managing liability
Versioning

## Slide 6: ISO 13485 and the translation process
How does the ISO 13485 standard affect translation?
  The standard requires traceability
  Who did what when, so that errors can be traced and corrected
  This is an important liability issue for clients and providers
  It also raises the profile of change management and versioning in the document authoring and translation processes
Notes: Traceability and change management – segment level
Managing liability
Versioning

## Slide 7: 3.8 Labelling
“Labelling” refers to all information that appears on or is disseminated with the product.
  Labels
  Instructions for use (IFUs)
  Any information related to…
    Identification
    Technical description
    Intended purpose
    Proper use of the medical device
  Excludes shipping documents
Best quality assurance for translated content: high-quality source content
  Create content with patient safety at the center
  Use translation/localization as a “stress test” for your content.
  Single-source authoring to improve control, minimize effort.
Notes: Single-source
Content creation and patient safety
Over 13485, translation as source quality control—localization as stress test. Head nod vs. shake

## Slide 8: 4.1.5 Control Outsourcing
Use must monitor and control outsourced processes
Controls must be proportionate to the risk involved
Best level of control is having an ISO-certified vendor
  Avoids burdensome auditing by your company
  Sets clear requirements for vendor
  Reduces your liability by enforcing traceability
Document that you are relying on ISO 13485 vendor certification as part of your quality management
Include vendors ISO certificate in your documentation

## Slide 9: 7.5.1 Control of production and service provider
“Production and service provision shall be planned, carried out, monitored and controlled to ensure that product conforms to specification. As appropriate, production controls shall include but are not limited to:
  …
  e) implementation of defined operations for labelling and packaging;…”
If relying on ISO-certification of your vendor, you will only need to document your internal processes around authoring and content management.

## Slide 10: 7.5.9 Traceability
Traceability, or the act of tracking activities that affect production of a product is a core ISO 13485 requirement
Section 7.5.10 Customer property – requires that customer materials be safeguarded
Customer property that unsuitable for use must be report to the customer

## Slide 11: How is traceability achieved during translation?
Well-equipped translation providers can trace translation activity down to a deep level.
Process steps and related workers are all tracked

## Slide 12: How is traceability achieved during translation?
Within the translation environment, activity is traceable to the segment (sentence) level of the content.

## Slide 13: ISO 13485 and MadTranslations
To achieve 13485 certication, MadTranslations had to undergo:
Pre-audit ISO 9001 QS to identify gaps
Enact recommendations to enhance existing QS
  Conduct internal audits
  Create more documentation
    Purchasing
    Job descriptions
    Task/Work instructions
Notes: Pre-audit, stage 1 audit
Pre-scan, recommendations to enhance/add over 9000
Internal audits, increase level documentation, software purchases, job descriptions, task instructions
Stage 2 audit certification audit

## Slide 14: MDR (Medical Device Regulation)
Regulation of the EU Parliament that governs market entry of medical devices into European Union member countries
Addresses concerns over assessment of product safety and performance
Stricter requirements for
  Clinical evaluation
  Post-market clinical follow-up
  Supply chain traceability of product
  Greater scrutiny of documentation
  Deadline extended from May 26, 2020 to 2021 due to COVID-19 pandemic
Notes: What is it and the current status?
Apps that are medical devices.